## SCADA(GAS) Flow meters
Sr.No. | Installation Site | Tag No. | Service | Working status | Pipe ID | Orifice | Range | PT Range | Scada Connectivity | Calibration dates | Calibration dates | Calibration dates | Calibration dates 2026
AREA 01
1 | ANK GGS01 | PI1311
2 |  | PI1312
3 |  | PI1321
4 |  | 1501 | [7 empty] | 2025-11-11
5 |  | 1502
6 |  | 1503
7 |  | 1504
8 |  | 1351
9 |  | 1361
10 |  | 1371
11 |  | 1824
12 |  | 1825
13 |  | 1826
14 |  | 1827 |  | Working | 2'' | 30mm | 0-2500 |  | Yes
1 | ANKGGS-2 | 1826 | Gas Lift Area | Working | 2" | 15mm | 0-2500 | 0-50 | Yes | 2025-10-21
2 |  | 1827 |  | Working | 2" | 15mm | 0-2500 |  | Yes | 2025-10-21
3 |  | 1828 |  | Working | 2" | 15mm | 0-2500 |  | Yes | 2025-10-21
4 |  | 1829 |  | Working | 2" | 15mm | 0-2500 |  | Yes | 2025-11-26
5 |  | 1830 |  | Working | 2" | 15mm | 0-2500 |  | Yes | 2025-11-26
6 |  | 1831 |  | Working | 2" | 20mm | 0-2500 |  | Yes | 2025-11-26
7 |  | 1832 |  | Working | 2" | 20mm | 0-2500 |  | Yes | 2025-12-10
8 |  | 1833 |  | Working | 2" | 20mm | 0-2500 |  | Yes | 2025-12-10
9 |  | 1834 |  | Working | 2" |  | 0-2500 |  | Yes | 2025-12-12
10 |  | 1835 |  | Working | 2" |  | 0-2500 |  | Yes | 2025-12-12
11 |  | 1836 |  | Working | 2" |  | 0-2500 |  | Yes | 2025-12-12
12 |  | 1837 |  | Working | 2" |  | 0-2500 |  | Yes
13 |  | 1838 |  | Working | 2" | 15mm | 0-2500 |  | Yes
14 |  | 1839 |  | Working | 2" | 15mm | 0-2500 |  | Yes
15 |  | 1840 |  | Working | 2" | 15mm | 0-2500 |  | Yes
16 |  | 1841 |  | Working | 2" | 15mm | 0-2500 |  | Yes
17 |  | 1842 |  | Working | 2" |  | 0-2500 |  | Yes
18 |  | 1843 |  | Not working | 2" |  | 0-2500 |  | Yes | 2025-01-13
19 |  | 1844 |  | Not working | 2" |  | 0-2500 |  | Yes
20 |  | 1845 |  | Working | 50.7 |  | 0-2500 |  | Yes
21 |  | 1846 |  | Working | 50.7 |  | 0-2500 |  | Yes
22 |  | 1847 |  | Not in use | 2" |  | 0-2500 |  | Yes
23 |  | 1848 |  | Working | 2" |  | 0-2500 |  | Yes
24 |  | 1849 |  | Working | 2" |  | 0-2500 |  | Yes | 2025-01-13
25 |  | 1850 |  | Working | 2" |  | 0-2500 |  | Yes | 2025-01-13
26 |  | 1851 |  | Not working | 2" |  | 0-2500 |  | Yes | 2025-01-13
27 |  | 1852 |  | Not working | 2" |  | 0-2500 |  | Yes | 2025-01-13
28 |  | 1853 |  | Not In use | 2" |  | 0-2500 |  | Yes | 2025-01-13
29 |  | 1501 | Gas To CTF | Working | 154.06 | 71.0 mm | 0-2500 | 0-10 | Yes | 2025-01-13 | 2025-09-29 |  | 2026-02-11
30 |  | 1502 | Gas To CTF | Working | 8" | 40 | 0-2500 | 0-25 | Yes | 2025-01-13 | 2025-09-29
31 |  | 1503 | Gas To Gas Lift | Working | 4" | 40.85 | 0-2500 | 0-50 | Yes | 2025-01-13
32 |  | 1371 | MP Test Sep.Gas Flow Meter | Working | 52.41 | 23mm |  | 0-06 | Yes | 2025-01-13 |  |  | 2026-02-11
33 |  | PI1311 | LP Sep 5-8-10 |  |  |  |  | 0-50 |  | 2025-01-13
34 |  | Pi1312 | MP Sep 1-3 |  |  |  |  | 0-50 |  | 2025-01-13
35 |  | PT1321 | LP Sep 3-4 |  |  |  |  | 0-50 |  | 2025-01-13
36 |  | PI1322 | Mp test Sep | [6 empty] | 2025-03-10
37 |  | PI1746 | Gas Lift header |  |  |  |  | 0-50 |  | 2025-03-10
38 |  | PI1926 | IWF PT-1 |  |  |  |  | 0-50 |  | 2025-01-13
39 |  | PI1927 | IWF PT-139 |  |  |  |  | 0-50
40 |  | PI1928 | IWF PT-217 |  |  |  |  | 0-50
41 |  | PI1929 | IWF PT-265 |  |  |  |  | 0-50
42 |  | PI1930 | IWF PT-199 |  |  |  |  | 0-50
43 |  | PI1931 | IWF PT-243 |  |  |  |  | 0-50
44 |  | PI1932 | IWF PT-285 |  |  |  |  | 0-50
1 | ANKGGS03 | PI1321
2 |  | PI1322
3 |  | 1371 | LP Test Sep.Gas Flow Meter | Working | 2" | 33 | 0-2500 | 0-10 | Yes |  |  |  | 2026-01-02
4 |  | 1361 | MP Test Sep.Gas Flow Meter | Working |  |  |  |  | Yes
5 |  | 1521 | Gas To Gas Lift | Working | 101.6 | 50 | 0-2500 | 0-60 | Yes | 2025-09-16 | 2025-11-07
6 |  | 1522 |  | Working |  |  |  |  | Yes
7 |  | 1523 |  | Working |  |  |  |  | Yes
8 |  | 1501 | MP Gas To CTF | Working | 6" | 70 | 0-1500 | 0-10 | Yes |  |  |  | 2026-01-02
9 |  | 1502 | Gas To GGS06 | Working | 4" | 65 | 0-750 |  | Yes | 2025-09-04 | 2025-11-04 | 2025-02-06 | 2026-02-06
10 |  | 1826 | Gas Lift Area | Working | 4" | 15 | 0-2500 | 0-50 | Yes | 2025-01-01
11 |  | 1827 |  | Working | 2" | 15 | 0-2500 |  | Yes | 2025-01-01
12 |  | 1828 |  | Working | 2" | 15 | 0-2500 |  | Yes | 2025-01-01
13 |  | 1829 |  | Working | 2" | 15 | 0-2500 |  | Yes | 2025-01-01
14 |  | 1830 |  | Not working | 2" | 17.23 | 0-2500 |  | Yes | 2025-02-04
15 |  | 1831 |  | Working | 2" | 20 | 0-2500 |  | Yes | 2025-03-14
16 |  | 1832 |  | Working | 2" | 20 | 0-2500 |  | Yes | 2025-02-04 | 2025-01-01
17 |  | 1833 |  | Working | 2" | 13.02 | 0-2500 |  | Yes
18 |  | 1834 |  | Working | 2" | 56 | 0-2500 |  | Yes
19 |  | 1835 |  | Working | 2" | 20 | 0-2500 |  | Yes
20 |  | 1836 |  | Working | 2" | 15 | 0-2500 |  | Yes | 2025-01-01
21 |  | 1837 |  | Working | 2" | 30 | 0-2500 |  | Yes
22 |  | 1838 |  | Not working | 2" |  | 0-2500 |  | Yes
23 |  | 1839 |  | working | 2" | 13.02 | 0-2500 |  | Yes
1 | ANKGGS04 | PI1321 | LP GRP HEARDER PRESSURE
2 |  | PI1322
|  | PT-1664 | TANK NO 4
|  | PT-1665 | TANK NO 7 | [6 empty] | 2025-02-04
|  | PT-1664 OLD | [7 empty] | 2025-01-01
3 |  | 1361 | MP Test Sep.Gas Flow Meter | Not working |  |  | 0-2500 | 0-10 | Yes
4 |  | 1371 | LP Test Sep.Gas Flow Meter | Working | 4" | 34.01 | 0-2500 | 0-06 | Yes | 2024-12-31
5 |  | 1521 | Gas From MOTWANGCS | working | 4" | 76 | 0-2500 | 0-60 | Yes
6 |  | 1501 | MP Gas to CTF | Working | 154.06 | 80 | 0-2500 | 0-10 | Yes | 2024-12-31 | 2025-09-10
7 |  | 1502 | LP Gas to GGS03 | Working | 8" |  | 0-2500 | 0-10 | Yes | 2025-01-07 | 2025-09-10
8 |  | 1826 | Gas Lift Area | Working | 2" |  | 0-2500 | 0-42(1746)8" | Yes | Meter not availble in line
9 |  | 1827 |  | Working | 2" |  | 0-2500 |  | Yes | 2024-12-31 | 2025-11-13
10 |  | 1828 |  | Working | 2" |  | 0-2500 |  | Yes |  | 2025-10-03 | 2025-11-13
11 |  | 1829 |  | Working | 2" |  | 0-2500 |  | Yes | 2025-03-15 | 2025-11-13
12 |  | 1830 |  | Working | 2" | 30 | 0-2500 |  | Yes | 2025-03-15 | 2025-11-13
13 |  | 1831 |  | working | 2" |  | 0-2500 |  | Yes |  | 2025-11-13
14 |  | 1832 |  | Working | 2" | 15 | 0-2500 |  | Yes |  | 2025-12-04
15 |  | 1833 |  | Working | 2" | 15 | 0-2500 |  | Yes |  | 2025-12-04
16 |  | 1834 |  | working | 2" |  | 0-2500 |  | Yes |  | 2025-12-09
17 |  | 1835 |  | Working | 2" | 15 | 0-2500 |  | Yes | 2025-01-07 | 2025-12-09
18 |  | 1836 |  | Working | 2" |  | 0-2500 |  | Yes |  | 2025-12-09
1 | ANKGGS05 | PT1321 | MP SEP HEADER |  |  |  |  | 0-06
2 |  | PT1926 | WELL PRESSURE |  |  |  |  | 0-60
3 |  | PT1927 | [5 empty] | 0-60
4 |  | 1501 | 6 kg Gas to CTF | Working | 154.06 | 70mm | 10000 | 0-06 | Yes | 2025-08-21 |  |  | 2026-02-12
5 |  | 1502 | 2 kg Gas to CTF | Working | 154.06 | 90mm | 10000 | 0-06 | Yes | 2025-10-01 |  |  | 2026-02-12
6 |  | 1521 | Gas to Gas Lift | Working | 102.26 | 30mm | 0-2500 | 0-10 | Yes | 2025-01-07 | 2025-10-08
7 |  | 1522 | Gas From GGS01 | Working |  |  |  | 0-10 | Yes | 2025-10-01
8 |  | 1371 | LP Test Sep.Gas Flow Meter | Working | 2" |  | 0-700 | 0-06 | Yes | 2025-10-01 | 2025-10-08
9 |  | 1826 | Gas Lift Area | Working | 2" | 15mm | 0-2500 | 0-60(1746) | Yes |  | 2025-10-21
10 |  | 1827 |  | Working | 2" |  | 0-2500 |  | Yes |  | 2025-10-21
11 |  | 1828 |  | Working | 2" |  | 0-2500 |  | Yes | 2025-01-13 | 2025-10-21
12 |  | 1829 |  | Working | 2" | 15mm | 0-2500 |  | Yes | 2025-01-13 | 2025-11-03 | 2025-10-28
13 |  | 1830 |  | Working | 2" |  | 0-2500 |  | Yes | 2025-03-07 | 2025-11-03 | 2025-10-28
14 |  | 1831 |  | Working | 2" |  | 0-2500 |  | Yes |  | 2025-10-28
15 |  | 1832 |  | Working | 2" |  | 0-2500 |  | Yes |  | 2025-12-09 | meter faulty
16 |  | 1833 |  | Working | 2" | 20mm | 0-2500 |  | Yes |  | 2025-12-09
17 |  | 1834 |  | Working | 2" |  | 0-2500 |  | Yes |  | 2025-12-09
18 |  | 1835 |  | Working | 2" |  | 0-2500 |  | Yes |  | 2025-12-09
19 |  | 1836 |  | Working | 2" |  | 0-2500 |  | Yes |  | 2025-12-09
20 |  | 1837 |  | Working | 2" |  | 0-2500 |  | Yes
21 |  | 1838 |  | Working | 2" |  | 0-2500 |  | Yes
22 |  | 1839 |  | Working | 2" |  | 0-2500 |  | Yes
23 |  | 1840 |  | Not in use | 2" |  | 0-2500 |  | Yes
24 |  | 1841 |  | Working | 2" | 15mm | 0-2500 |  | Yes
25 |  | 1842 |  | Working | 2" |  | 0-2500 |  | Yes
1 | ANKGGS06 | 1502 | LP Gas to CTF | Working | 8" |  | 0-1000 |  | Yes | 2025-09-01 | 2025-11-14 | 2026-01-21 | 2026-01-21
2 |  | 1503 | MP Gas to CTF | Working | 8" | 57 | 0-2500 |  | Yes |  |  | 2025-09-24 | 2026-02-10
3 |  | 1521 | Gas Lift Gas From MOTWANGCS | Working | 4" |  | 0-2000 |  | Yes |  |  | 2025-09-25 | New DPT install
4 |  | 1361 | LP Test Sep.Gas Flow Meter | Not Working |  |  | 0-2500 |  | Yes
5 |  | 1371 | LP Test Sep.Gas Flow Meter | Working | 4" |  | 0-2500 |  | Yes | 2025-09-01 |  |  | 2026-01-21
6 |  | 1826 | Gas Lift Area | _ |  |  | 0-2500 | 0-60 | Yes
7 |  | 1827 |  | Working | 2" | 15 | 0-2500 |  | Yes | 2025-01-27 | 2025-03-03 | 2025-04-22
8 |  | 1828 |  | Working | 2" | 15 | 0-2500 |  | Yes | 2025-01-27 | 2025-01-02
9 |  | 1829 |  | not working | 2" |  | 0-2500 |  | Yes | 2025-03-03
10 |  | 1830 |  | Working | 2" | 15 | 0-2500 |  | Yes | 2025-01-02 | 2025-04-22
11 |  | 1831 |  | Working | 2" | 20 | 0-2500 |  | Yes | 2025-04-22
12 |  | 1832 |  | Working | 2" | 20 | 0-2500 |  | Yes | 2025-01-01
13 |  | 1833 |  | Working | 2" |  | 0-2500 |  | Yes
14 |  | 1834 |  | Working | 2" |  | 0-2500 |  | Yes | 2025-09-10
15 |  | 1835 |  | Working | 2" |  | 0-2500 |  | Yes | 2025-01-02
16 |  | 1836 |  | Working | 2" |  | 0-2500 |  | Yes
17 |  | 1837 |  | Working | 2" | 13.2 | 0-2500 |  | Yes | 2025-10-13
18 |  | 1838 |  | Working | 2" |  | 0-2500 |  | Yes | 2025-01-01 | 2025-10-13
19 |  | 1839 |  | Working | 2" | 17.27 | 0-2500 |  | Yes | 2025-01-01 | 2025-10-13
20 |  | 1840 |  | Working | 2" | 17.27 | 0-2500 |  | Yes |  |  | 2025-10-23
21 |  | 1841 |  | Working | 2" | 17.27 | 0-2500 |  | Yes | 2025-01-01 |  | 2025-10-23
22 |  | 1842 |  | Working | 2" | 17.27 | 0-2500 |  | Yes | 2025-01-01 |  | 2025-10-23
23 |  | 1843 |  | Working | 2" | 17.27 | 0-2500 |  | Yes |  |  | 2025-11-21
24 |  | 1844 |  | Working | 2" | 17.27 | 0-2500 |  | Yes |  |  | 2025-11-21
25 |  | 1845 |  | Working | 2" |  | 0-2500 |  | Yes |  |  | 2025-11-21
26 |  | 1846 |  | Working | 2" |  | 0-2500 |  | Yes
27 |  | 1847 |  | Working | 2" |  | 0-2500 |  | Yes
28 |  | 1848 |  | Working | 2" |  | 0-2500 |  | Yes | 2025-01-02 | 2025-12-02
29 |  | 1849 |  | Working | 2" |  | 0-2500 |  | Yes
30 |  | 1850 |  | Working | 2" |  | 0-2500 |  | Yes | 2025-11-02
1 | ANK CTF | 1501 | Stage 1 Gas from Field | Not Working |  |  | 0-2500 | 0-16 | Yes
2 |  | 1502 | Lean gas to CTF | working |  |  |  | 0-06 | yes | 2024-12-05 |  |  | 2026-01-23
|  | 1504 | Feed gas to LPG | working |  |  |  |  | yes | 2024-12-05 |  |  | 2026-01-23
|  | 1503 | Gas for internal consumption | working |  |  |  |  | yes | 2025-11-26
3 |  | 1521 | Stage 1 Gas from Field | Working | 8" |  | 0-2500 | 0-10 | Yes
4 |  | 1522 | Cold Flare Line | Working |  |  |  | 0-16 | Yes
5 |  | 1531 | Gas to Internal Use | Working | 2" | 17.44 | 0-500 | 0-06 | Yes
6 |  | PT1532 | Stage 1 Compressor | Working |  |  |  |  | Yes
1 | ANK CTF LPG | [8 empty] | 2025-01-04
2 |  | 1502 | LEAN Gas to CTF | Working | 8" | 107.18 | 0-2500 |  | Yes |  | 2025-10-06
3 |  | 1503 | Gas from INTERNAL Consumption | Working |  |  | 0-2500 | 0-10 | Yes
4 |  | 1504 | Gas from GCP | Working | 8" | 116.25 | 0-2500 |  | Yes |  | 2025-10-06
1 | ANK MOTWAN GGS | PI1321 | MP HEADER |  |  |  |  | 0-10 |  | 2025-10-09
2 |  | PI1311 | LP HEADER | working |  |  |  |  | Yes | 2025-08-25
3 |  | 1501 | Gas to Gas Lift | working |  |  | 0-2500 | 0-10 | Yes |  | 2025-10-09
4 |  | 1502 | Gas to GGS1 to CTF | working |  |  | 0-2500 | 0-10 | Yes | 2025-09-02 |  |  | 2026-01-28
5 |  | 1503 | Gas to Compressor Suction Line | Working |  |  | 0-2000 | 0-100 | Yes | 2025-09-02
6 |  | 1521 | Gas from Compressor Discharge Line | Working |  |  | 0-2000 | 0-60 | Yes
7 |  | 1371 | LP Test Sep. Meter | Working |  |  | 0-2500 | 0-06 | Yes | 2025-08-25 | 2025-10-09 |  | 2026-01-28
8 |  | 1826 | Gas Lift Area | Working | 2" | 13.02 | 0-2500 | 0-60 | Yes
9 |  | 1827 |  | Working | 2" | 13.02 | 0-2500 |  | Yes
10 |  | 1828 |  | Working | 2" | 13.02 | 0-2500 |  | Yes | 2025-02-24 | 2025-04-16
11 |  | 1829 |  | Working | 2" | 13.02 |  |  | Yes | 2025-02-24
12 |  | 1830 |  | Working | 2" | 13.02 | 0-2500 |  | Yes | 2025-10-30
13 |  | 1831 |  | Working |  |  |  |  | Yes | 2025-01-10 | 2025-04-16
14 |  | PI1926 |  | Working |  |  |  | 0-60 |  | 2025-10-30
15 |  | 1521 | MOTGCS ( Gas to AREA 1 Gas Lift) | Working |  |  |  |  | Yes
1 | ANK MOTWAN GCS | 1521 |  |  |  |  | 0-2000 |  |  | 2025-06-30
2 |  | PI1301
AREA 02
Sr.No. | Installation Site | Tag No. | Location | Working/Non working | Pipe ID | Orifice | 0-2500 |  | Scada Connectivity
1 | KIM EPS | 1502 | LP Test Seperator 1 Flow Meter | working |  |  |  | 0-06 | Yes | 2025-10-17
2 |  | 1371 | LP Test Seperator Flow Meter | Working | 2" | 18.34 | 0-2000 | 0-06 | Yes | 2025-10-17 |  |  | 2026-02-17
3 |  | 1372 | LP Test Seperator 1 Flow Meter | Working | 4" |  | 0-2500 | 0-50 | Yes | 2025-04-21 |  |  | 2026-02-17
4 |  | 1373 | Gas to MOTWAN GCS | Working | 3" | 23.27 | 0-2500 | 0-35 | Yes | 2025-09-10 | 2025-10-04
5 |  | 1826 | Gas Lift Area | Working | 2" | 18.42 | 0-2500 |  | Yes
6 |  | 1827 |  | working | 2" | 18.42 | 0-2500 |  | Yes
7 |  | 1828 |  | Working | 2" |  |  |  | Yes | 2025-01-06 | 2025-05-01
8 |  | PI 1321 | hp header | [6 empty] | 2025-05-01 | 2025-04-21
9 |  | PI 1301 | lp header | [6 empty] | 2025-04-21
10 |  | 1501 | Gas to ggs01 | [6 empty] | 2025-03-17
|  | 1746 | Gas lift meters PT and TT | Not in use
1 | KOSAMBA GGS | 1371 | LP Test Seperator | Working | 2" | 25 | 0-2500 | 0-25 | Yes | 2025-01-06 | 2025-09-20
2 |  | 1372 | LP Test Seperator | Working | 2" | 23.63 | 0-500 | 0-25 | Yes | 2025-01-06 | 2025-09-20
3 |  | PI 1321 | [5 empty] | 0-6 |  | 2025-01-06
4 |  | PT 1726 | lp header | [5 empty] | yes
|  | TT 1726 | [6 empty] | yes
1 | OLPAD GCS | 1371 | LP Test Seperator 1 | Working | 101.6 | 19.43 |  |  | Yes | 2025-07-22 | 2025-12-03
2 |  | 1372 | LP Test Seperator 2 | Removed | 4" |  | 0-2500 |  | Yes | 2025-04-17
3 |  | 1301 | GAS FROM WELL #404-44 | [6 empty] | 2025-12-03 | Rosemount Capillary type
4 |  | 1321 | LP Header pressure |  |  |  |  | 0-6
5 |  | 1322 | PT for gaslift |  |  |  |  | 0-6 |  | 2025-08-09
6 |  | 1323 | PT for gaslift | [6 empty] | 2025-08-09
7 |  | 1324 | PT for gaslift | [5 empty] | Yes
8 |  | 1325 | PT for gaslift | [5 empty] | Yes
9 |  | 1326 | PT for gaslift | [5 empty] | Yes
10 |  | 1327 | PT for gaslift | [5 empty] | Yes
AREA 03
Sr.No. | Installation Site | Tag No. | Location | Working/Non working | Pipe ID | Orifice | Range |  | Scada Connectivity
1 | GDRGGS01 | 1501 | Gas to CPF | Working | 152.3 | 70 | 0-2500 | 0-75 | Yes | 2025-04-12 |  |  | 2026-01-27
2 |  | 1502 | MP Gas to CPF | Working | 150 | 60 | 0-2000 | 0-120 | Yes | 2025-03-26 | 2025-08-28 | 2026-01-03
3 |  | 1503 | Gas Lift to GGS-1 | Working | 102.26 | 52 | 0-1000 | 0-120 | Yes | 2025-03-04 |  |  | DP generate high orifice need to change
4 |  | 1504 | Gas Lift to GGS-2 | Working | 102.26 | 34.2 | 0-1000 | 0-120 | Yes | 2025-03-04
5 |  | 1505 | Gas Lift to GGS-3 | Working | 102.26 | 65.78 | 0-2500 | 0-120 | Yes
6 |  | 1506 | Gas Lift to GGS-5 | Working | 102.26 | 45 | 0-2500 | 0-150 | Yes
7 |  | 1351 | HP Test Sep.Gas Flow Meter | Working | 101.6 | 43.6 | 0.125 | 0-18 | Yes | 2025-02-27 | 2025-04-12 | 2025-08-28 | 2026-01-27
8 |  | 1371 | LP Test Sep.Gas Flow Meter | Working | 101.6 | 60 | 0-2000 | 0-44 | Yes | 2025-02-27 | 2025-03-26 | 2025-08-28 | 2026-01-03
9 |  | 1826 | Gas Lift Area | Working | 2 inch |  | 0-2500 |  | Yes | 2025-04-03 | 2025-10-16 | 2025-10-16
10 |  | 1827 |  | Working | 2 inch |  | 0-2500 |  | Yes | 2025-04-03 | 2025-10-16 | 2025-10-16
11 |  | 1828 |  | Working | 2 inch |  | 0-2500 |  | Yes | 2025-01-16 | 2025-10-16 | 2025-10-16
12 |  | 1829 |  | Working | 2 inch | 9 | 0-2500 |  | Yes | 2025-01-16 | 2025-10-29 | 2025-10-29
13 |  | 1830 |  | Working | 2 inch |  |  |  | Yes | 2025-04-12 | 2025-10-29 | 2025-10-29
14 |  | 1831 |  | Working | 49.25 |  |  |  | Yes | 2025-03-26 | 2025-11-14 | 2025-11-14
15 |  | 1832 |  | Working | 50.08 | 9.08 | 0-2500 |  | Yes |  | 2025-11-14 | 2025-11-14
16 |  | 1833 |  | Working | 49.25 | 20 | 0-2500 |  | Yes |  |  | 2025-11-20
17 |  | 1834 |  | Working | 49.25 | 9 | 0-2500 |  | Yes |  |  | 2025-11-20
18 |  | 1835 |  | Working | 50.08 | 12 | 0-2500 |  | Yes |  |  | 2025-11-20
19 |  | 1836 |  | Working | 49.25 | 12 | 0-2500 |  | Yes |  |  | 2025-11-20
20 |  | 1837 |  | Working | 2 inch | 12 | 0-2500 |  | Yes |  |  | 2025-11-14
21 |  | 1838 |  | Working | 50.08 | 25 | 0-2500 |  | Yes |  | 2025-11-14 | 2025-11-14
22 |  | 1839 |  | Working | 2 inch |  |  |  | Yes |  |  | 2025-11-20
23 |  | 1840 |  | Working | 49.25 | 14 | 0-2500 |  | Yes |  |  | 2025-11-20
24 |  | 1841 |  | Working | 2 inch |  |  |  | Yes |  |  | 2025-11-20
25 |  | 1842 |  | Working | 49.25 | 28 | 0-2500 |  | Yes |  |  | 2025-11-20
26 |  | 1843 |  | Working | 49.25 | 12 | 0-2500 |  | Yes
27 |  | 1844 |  | Working | 49.25 | 12 | 0-2500 |  | Yes
28 |  | 1845 |  | Working | 49.25 | 9 | 0-2500 |  | Yes
29 |  | pi1301 |  | Working |  |  |  |  | Yes
30 |  | pi1311
31 |  | pi1321
32 |  | pi 1747
33 |  | pi 1746
34 |  | DPT 1201 | [7 empty] | 2025-09-13
35 |  | DPT 1202 | [7 empty] | 2025-09-13
36 |  | pi1203
37 |  | pi1204
38 |  | pi1205
39 |  | DPT 1206 | [7 empty] | 2025-09-13
40 |  | pi1207
41 |  | pi1208
42 |  | pi1209
43 |  | pi1210
44 |  | pi1211
45 |  | pi1212
46 |  | pi1213
47 |  | pi1312
1 | GDRGGS03 | 1501 | MP Gas to CPF | Working | 203.2 | 80 | 0-2500 | 0-50 | Yes | 2025-08-30 |  | 2026-01-14 | 2026-01-24 | FT used in line pt and tt found faulty
2 |  | 1502 | MP Gas to CPF | Working |  | 60 | 0-2500 | 0-06 | Yes | 2025-04-05 | 2025-08-30 | 24/09/25 New TT install E & H make | 2026-01-05
3 |  | 1351 | HP Test Sep.Gas Flow Meter | Working | 101.6 | 25.77 | 0-2500 | 0-55 | Yes | 2025-05-03 |  |  | 2026-01-14
4 |  | 1361 | MP Test Sep.Gas Flow Meter | Working | 48.56 | 34.09 | 0-2500 | 0-16 | Yes | 2025-03-27 | 2025-09-11 |  | 2026-01-14
5 |  | 1371 | LP Test Sep.Gas Flow Meter | Working | 76.2 | 47.89 | 0-2500 | 0-06 | Yes | 2025-03-27 | 2025-09-11 |  | 2026-01-05
6 |  | 1531 | Fuel Gas to DCA | Working | 25.4 | 12 | 0-2500 | 0-06 | Yes |  |  | 2025-09-24 | 2026-01-14
7 |  | 1826 | Gas Lift Area | Working | 2 inch | 9 | 0-2500 | 0-120 | Yes | 2025-01-28 |  | 2025-10-18
8 |  | 1827 |  | Working | 49.25 | 28 | 0-2500 |  | Yes | 2025-01-28 | 2025-04-05 | 2025-11-17
9 |  | 1828 |  | Working | 49.25 | 26.3 | 0-2500 |  | Yes | 2025-03-05 |  | 2025-11-17
10 |  | 1829 |  | Working | 49.25 | 26.3 | 0-2500 |  | Yes | 2025-03-27 |  | 2025-11-17
11 |  | 1830 |  | Working | 49.25 | 12 | 0-2500 |  | Yes | 2025-03-27 |  | 2025-11-22
12 |  | 1831 |  | Working | 49.25 | 26 | 0-2500 |  | Yes | 2025-02-18 |  | 2025-11-22
13 |  | 1832 |  | Working | 49.25 | 23 | 0-2500 |  | Yes |  |  | 2025-11-22
14 |  | 1833 |  | Working | 2 inch |  | 0-2500 |  | Yes
15 |  | 1834 |  | Working | 2 inch |  | 0-2500 |  | Yes
16 |  | 1835 |  | Working | 49.25 | 26.03 | 0-2500 |  | Yes |  |  | 2025-11-22
17 |  | 1836 |  | Working | 2 inch | 15 | 0-2500 |  | Yes
18 |  | 1837 |  | Working | 2 inch | 30 | 0-2500 |  | Yes
19 |  | 1838 |  | Working | 2 inch |  | 0-2500 |  | Yes
20 |  | 1839 |  | Working | 2 inch |  | 0-2500 |  | Yes
21 |  | 1840 |  | Working | 49.25 | 26.3 | 0-2500 |  | Yes
22 |  | 1841 |  | Working | 2 inch | 12 | 0-2500 |  | Yes
23 |  | 1842 |  | Working | 2 inch | 26.3 | 0-2500 |  | Yes
24 |  | 1843 |  | Working | 2 inch | 26.3 | 0-2500 |  | Yes
25 |  | 1844 |  | Working | 2 inch | 12 | 0-2500 |  | Yes
26 |  | 1845 |  | Working | 2 inch |  |  |  | Yes |  |  | 2025-10-18
27 |  | PI 1301 | HP Header | Working |  |  |  | 0-60 | Yes
28 |  | PI 1311 | MP Header | Working |  |  |  | 0-60 | Yes
29 |  | PI 1321 | LP Header | Working |  |  |  | 0-60 | Yes
30 |  | PI 1302 | HP TEST Header | Working |  |  |  | 0-60 | Yes
31 |  | PI 1746 | Gas lift Header | Working |  |  |  | 0-60 | Yes |  |  | 2025-10-18
32 |  | PI1201 | individual well line pressure | Working |  |  |  | 0-60 | Yes
33 |  | PI1202 | individual well line pressure | Working |  |  |  | 0-60
34 |  | PI1203 | individual well line pressure | Working |  |  |  | 0-60
35 |  | PI1204 | individual well line pressure | Working |  |  |  | 0-60
36 |  | PI1205 | individual well line pressure | Working |  |  |  | 0-60
37 |  | PI1206 | individual well line pressure | Working |  |  |  | 0-60
38 |  | PI1207 | individual well line pressure | Working |  |  |  | 0-60
39 |  | PI1208 | individual well line pressure | Working |  |  |  | 0-60
40 |  | PI1209 | individual well line pressure | Working |  |  |  | 0-60
41 |  | PI1210 | individual well line pressure | Working |  |  |  | 0-60
42 |  | PI1211 | individual well line pressure | Working |  |  |  | 0-60
43 |  | PI1212 | individual well line pressure | Working |  |  |  | 0-60
44 |  | PI1213 | individual well line pressure | Working |  |  |  | 0-60
45 |  | PI1214 | individual well line pressure | Working |  |  |  | 0-60
46 |  | PI1215 | individual well line pressure | Working |  |  |  | 0-60
47 |  | PI1216 | individual well line pressure | Working |  |  |  | 0-60
48 |  | PI1217 | individual well line pressure | Working |  |  |  | 0-60
49 |  | PI1218 | individual well line pressure | Working |  |  |  | 0-60
50 |  | PI1219 | individual well line pressure | Working |  |  |  | 0-60
51 |  | PI1220 | individual well line pressure | Working |  |  |  | 0-60
52 |  | PI1221 | individual well line pressure | Working |  |  |  | 0-60
53 |  | PI1222 | individual well line pressure | Working |  |  |  | 0-60
54 |  | PI1223 | individual well line pressure | Working |  |  |  | 0-60
55 |  | PI1224 | individual well line pressure | Working |  |  |  | 0-60
56 |  | PI1225 | individual well line pressure | Working |  |  |  | 0-60
57 |  | PI1226 | individual well line pressure | Working |  |  |  | 0-60
58 |  | PI1227 | individual well line pressure | Working |  |  |  | 0-60
59 |  | PI1228 | individual well line pressure | Working |  |  |  | 0-60
60 |  | PI1229 | individual well line pressure | Working |  |  |  | 0-60
61 |  | PI1230 | individual well line pressure | Working |  |  |  | 0-60
62 |  | PI1231 | individual well line pressure | Working |  |  |  | 0-60 | Yes
63 |  | PI1232 | individual well line pressure | Working |  |  |  | 0-60 | Yes
64 |  | PI1233 | individual well line pressure | Working |  |  |  | 0-60 | Yes
65 |  | TT 1581 | Heater Treater | Working |  |  |  | 0-100 | Yes
66 |  | TT 1582 | Heater Treater | Working |  |  |  | 0-100 | Yes
1 | GDRGGS04 | 1502 | [10 empty] | 2026-01-19 |  | 2025-08-13
2 |  | 1504 | [12 empty] | 2025-03-22
3 |  | 1510 | [10 empty] | 2026-01-19
4 |  | 1506 | Gas Lift To Gas Lift GGS 04 | working | 8" |  | 0-2500 | 0-60 | Yes | 2025-02-03 | 2025-08-27 | 2025-10-07
5 |  | 1501 | Gas Lift To Gas Lift Jolwa | working | 8" |  | 0-2500 | 0-60 | Yes | 2025-08-27 | 2025-09-30 | 2025-10-07
6 |  | 1351 | HP Test Sep.Gas Flow Meter | Not working | 4" |  | 0-2500 |  | Yes | 2025-04-01
7 |  | 1361 | MP Test Sep.Gas Flow Meter | Working | 4" | 53.44 | 0-2500 | 0-16 | Yes | 2025-04-19 |  |  | 2026-01-13
8 |  | 1371 | LP Test Sep.Gas Flow Meter | working | 8" |  | 0-2500 |  | Yes | 2025-04-18 |  |  | 2026-01-13
9 |  | 1531 |  | Not working | 1 inch | 12 | 0-2500
10 |  | 1826 | Gas Lift Area | Working | 49.25 | 12 | 0-2500 | 0-06 | Yes | 2025-11-10
11 |  | 1827 |  | Working | 49.25 | 12 | 0-2500 |  | Yes | 2025-11-10
12 |  | 1828 |  | Working | 49.25 | 26.3 | 0-2500 |  | Yes | 2025-03-31 | 2025-11-10
13 |  | 1829 |  | Working | 49.25 | 24 | 0-2500 |  | Yes
14 |  | 1830 |  | Working | 49.25 | 26.3 | 0-2500 |  | Yes | 2025-01-25
15 |  | 1831 |  | Working | 49.25 |  | 0-2500 |  | Yes
16 |  | 1832 |  | Working | 49.25 |  | 0-2500 |  | Yes
17 |  | 1833 |  | Working | 49.25 |  | 0-2500 |  | Yes
18 |  | 1834 |  | _ | 49.25 |  | 0-2500 |  | Yes
19 |  | 1835 |  | Working | 49.25 | 12 | 0-2500 |  | Yes
20 |  | 1836 |  | Working | 49.25 |  | 0-2500 |  | Yes
21 |  | 1837 |  | Working | 49.25 | 12 | 0-2500 |  | Yes
22 |  | 1838 |  | Working | 49.25 | 12 | 0-2500 |  | Yes
23 |  | 1839 |  | Working | 49.25 |  | 0-2500 |  | Yes
24 |  | 1840 |  | _ | 49.25 |  | 0-2500 |  | Yes
25 |  | 1841 | [7 empty] | 2025-01-25
26 |  | 1842
27 |  | 1843
28 |  | 1844
29 |  | 1845 | [7 empty] | 2025-01-25
30 |  | pi1746
31 |  | pi1747
32 |  | pi1201
33 |  | pi1202
34 |  | pi1203
35 |  | pi1204
36 |  | pi1205
1 | GDRGGS05 | 1351 |  |  | 4" |  | 0-2500 | ​ | Yes | 2025-09-04
2 |  | 1361 |  |  | 4" | 53.44 | 0-2500 | 0-16 | Yes | 2025-09-04
3 |  | 1371 |  |  | 8" |  | 0-2500 | ​ | Yes
4 |  | 1531 |  |  | 1 inch | 12 | 0-2500 | ​ | ​ | 2025-03-31
5 |  | 1532 | [5 empty] | ​ | Yes | 2025-08-23
6 |  | 1826 |  |  | 49.25 | 12 | 0-2500 | 0-06 | Yes |  |  | 2025-10-20
7 |  | 1827 |  |  | 49.25 | 12 | 0-2500 |  | Yes | 2025-03-31 |  | 2025-10-20
8 |  | 1828 |  |  | 49.25 | 26.3 | 0-2500 |  | Yes |  |  | 2025-10-20
9 |  | 1829 |  |  | 49.25 | 24 | 0-2500 |  | Yes | 2025-01-25 |  | 2025-10-28
10 |  | 1830 |  |  | 49.25 | 26.3 | 0-2500 |  | Yes |  |  | 2025-10-28
11 |  | 1831 |  |  | 49.25 |  | 0-2500 |  | Yes |  |  | 2025-10-28
12 |  | 1832 |  |  | 49.25 |  | 0-2500 |  | Yes |  |  | 2025-11-24
13 |  | 1833 |  |  | 49.25 |  | 0-2500 |  | Yes |  |  | 2025-11-24
14 |  | 1834 |  |  | 49.25 |  | 0-2500 |  | Yes |  |  | 2025-11-24
15 |  | 1835 |  |  | 49.25 | 12 | 0-2500 |  | Yes |  |  | 2025-11-24
16 |  | 1836 |  |  | 49.25 |  | 0-2500 |  | Yes | 2025-12-08
17 |  | 1837 |  |  | 49.25 | 12 | 0-2500 |  | Yes | 2025-12-08
18 |  | 1838 |  |  | 49.25 | 12 | 0-2500 |  | Yes | 2025-12-08
19 |  | 1839 |  |  | 49.25 |  | 0-2500 |  | Yes | 2025-12-08
20 |  | 1840 |  |  | 49.25 |  | 0-2500 |  | Yes | 2025-12-08
21 |  | pi1301 | [7 empty] | 2025-01-25
22 |  | pi1311
23 |  | pi1321
24 |  | pi1322
25 |  | pi1202 | [7 empty] | 2025-01-25
26 |  | pi1203
27 |  | pi1204
28 |  | pi1206
1 | GDR GGS07 | 1501 |  | working |  | 39.8 | 0-2500 | 0-120 | Yes | 2025-04-14 | 2025-11-06
2 |  | 1101 |  | working | 6 inch | 70.168 | 0-2500 | ​ | Yes | 2025-05-10 | 2025-09-09
3 |  | 1102 |  |  |  |  | 0-1000 | ​ | Yes | 2025-05-10
4 |  | 1103 |  | working | 102.26 | 69.42 |  | ​ | Yes | 2025-05-10 | 2025-09-09
5 |  | 1301 |  |  | 4" |  |  | 0-75 | Yes
6 |  | 1303 |  | working | 6 inch | 125.644 | 0-1000 | ​ | ​ | 2025-08-20 | 2025-03-22 | 2025-04-14 | 2026-01-31
7 |  | 1302 |  |  | 8" |  |  | 0-80 | Yes | 2025-04-14
8 |  | 1401 |  |  | 10 inch | 146.36 | 0-5000 | ​ | Yes | 2025-05-10 |  |  | 2026-01-31
9 |  | 1826 |  |  | 2" | 13.3 | 0-2500 | 0-120(1746) | Yes
10 |  | 1827 |  |  | 2" |  | 0-2500 |  | Yes
11 |  | 1828 |  |  | 2" | 13.035 | 0-2500 |  | Yes
12 |  | 1829 |  |  | 2" | 13.3 | 0-2500 |  | Yes | 2025-04-14
13 |  | 1830 |  | working | 2" | 13.3 | 0-2500 |  | Yes | 2025-04-14
1 | DAHEJ GGS | 1352 | LP Gas to Consumer | working | 3 inch | 50 | 0-2500 | 0-60 | Yes
2 |  | 1501 | HP Gas to CPF Flow Meter | Working | 6 inch | 75 | 0-2500 | 0-60 | Yes | 2025-04-29
3 |  | 1371 | LP Test Seperator Flow Meter | Working | 102 | 50 | 0-2500 | 0-6 | Yes | 2025-04-11 | 2025-10-17 |  | 2026-02-09
4 |  | 1351 | LP Test Seperator Flow Meter | Working | 101 | need replace due to showing overrange | 0-2500 | 0-60 | Yes | 2025-04-29 | 2025-10-17 |  | 2026-02-09
5 |  | pi1301
6 |  | pi1321 | [7 empty] | 2025-04-14
7 |  | pi1311 | [7 empty] | 2025-02-08
8 |  | pi1201 | [7 empty] | 2025-02-08 | 2025-04-29 | 2025-10-30
9 |  | pi1202 | [7 empty] | 2025-02-08 | 2025-04-11 | 2025-10-30
10 |  | pi1203 | [7 empty] | 2025-04-29 |  | 2025-10-30
1 | JOLWA GGS | 1501 | LP Gas to GGS04 | Working | 102.26 | 70 | 0-1500 | 0-6 | Yes |  | 2025-08-19 | 2025-09-26 | 2026-01-29
2 |  | 1502 | MP Gas to CPF | Working | 4inch | 40 | 0-2500 | 0-120 | Yes |  | 2025-08-19 |  | 2026-01-29
3 |  | 1531 | Internal Consuption | Working | 12.77 | 5 |  | 0-6 | Yes |  |  | 2026-01-29
4 |  | 1371 | LP Test Seperator Flow Meter | Working | 4inch |  | 0-2500 | 0-6 | Yes |  | 2025-08-19 | 2025-09-26
5 |  | 1826 | Gas Lift Area | Working | 2" | 12 | 0 | 0-120 | Yes
6 |  | 1827 |  | _ | 2inch | 12 | 0-2500 |  | Yes
7 |  | 1828 |  | _ | 2inch | 12 |  |  | Yes | 2025-01-03
8 |  | 1829 |  | _ | 2inch | 12 |  |  | Yes | 2025-03-29
9 |  | 1830 |  | Working | 2inch | 25 |  |  | Yes
10 |  | 1831 |  | _ | 2inch | 12 | 0-2500 |  | Yes | 2025-03-29
11 |  | 1832 |  | _ | 2inch | 12 |  |  | Yes
12 |  | 1833 |  | _ | 2inch | 12 |  |  | Yes
13 |  | 1834 |  | _ | 2inch | 12 | 0-2500 |  | Yes
14 |  | 1835 |  | Working | 2inch | 12 | 0-2500 |  | Yes
15 |  | 1836 |  | Working | 2inch | 12 |  |  | Yes
16 |  | 1837 |  | Working | 2inch | 12 | 0-2500 |  | Yes
17 |  | 1838 |  | Working | 2inch | 12.3 | 0-2500 |  | Yes
18 |  | 1839 |  | Working | 2inch | 26.3 | 0-2500 |  | Yes
19 |  | 1840 |  | _ | 2inch | 12 | 0-2500 |  | Yes
20 |  | 1841 |  | Working | 2inch | 12 | 0-2500 |  | Yes
21 |  | 1842 |  | Working | 2inch | 12 | 0-2500 |  | Yes
22 |  | 1843 |  | Working | 101.6 | 47.5 | 0-1500 |  | Yes |  | 2025-09-30
23 |  | 1844 |  | Working | 2inch | 26.3 | 0-2500 |  | Yes
24 |  | 1845 |  | Working | 2inch | 26.3 | 0-2500 |  | Yes
25 |  | pi1321
26 |  | pi1301
27 |  | pi1302 | [6 empty] | Yes
28 |  | pi1303 | [7 empty] | 2025-01-03
29 |  | pi1304
1 | EPS-253 | 1501 | MP Horizontal Sep 1 | Working | 4 inch | 60 | 0-2500 | 0-6 | Yes | 2025-03-08
2 |  | 1502 | LP Sep 2 | Working | 101.6 | 50 | 0-2500 | 0-60 | Yes | 2025-02-17 | 2025-09-03
3 |  | 1503 | MP 2 Sep | Working | 101.6 | 30 | 0-2500 | 0-16 | Yes | 2025-04-18 | 2025-09-03 | 2025-09-27 | 2026-01-22
4 |  | 1504 | LP Gas To CPF | Working | 203.2 | 120.82 | 0-10000 | 0-60 | Yes | 2025-04-15
5 |  | 1507 | LP Gas To CPF | Working | 203.2 | 123.56 | 0-500 | 0-25 |  | 2025-04-15
6 |  | pi1531 | air compressor pressure | working | 0.5 inch |  | 0-2500 | 0-3 | yes | 2025-09-03 |  | 2025-10-24 | 2026-01-22
7 |  | 1361 | MP 1 Sep | Working | 102.26 | 40 | 0-2500 | 0-20 | Yes | 2025-03-08 | 2025-04-18 | 2025-08-25
8 |  | 1371 | LP 1 Gas Flow Meter | Working | 102.26 | 40.3 | 0-2500 | 0-25 | Yes | 2025-02-17 | 2025-08-25 | 2025-09-27
9 |  | 1826 | Gas Lift Area | Working | 152.4 | 66 | 0-2500 |  | Yes | 2025-01-15 | 2025-02-05 | 2025-04-18
10 |  | 1828 | [7 empty] | 2025-01-21 | 2025-04-15
11 |  | pi1746 |  | working | 8 inch |  |  | 0-120 | yes | 2025-01-21 | 2025-04-15
12 |  | pi1301 | [7 empty] | 2025-02-05
13 |  | pi1311 | [7 empty] | 2025-01-15
14 |  | pi1321 | [7 empty] | 2025-02-17 | 2025-04-10
15 |  | pi1506 |  | working |  |  |  | 0-60 | Yes | 2025-03-08 | 2025-04-15 | 2025-10-29
AREA 04
Sr.No. | Installation Site | Tag No. | Location | Working/Non working |  |  |  |  | Scada Connectivity | 2025-01-15
1 | NADA GGS | 1501 | LP Test Gas Flow Meter | Working | 101.6 | 45mm | 0-2500 | 0-60 | Yes | 2025-01-22 | 2025-12-17
2 |  | 1502 | Group Gas Flow Meter | Working | 8" | 103 | 0-2500 | 0-60 | Yes | 2025-09-22
3 |  | 1503 | 6'' Line to NGD Flow Meter | Working | 6" | 99.14 | 0-2500 | 0-60 | Yes | 2025-09-22
4 |  | 1351 | LP Group Sep. Gas Flow Meter | Working | 76.2 | 40mm | 0-2500 | 0-60 | Yes | 2025-01-22 | 2025-12-17
5 |  | 1826 | Gas Lift Area | Working |  |  |  |  | Yes
6 |  | 1827 |  | Working |  | 30mm |  |  | Yes
7 | GNAQ GGS | 1351 | HP Test Gas Flow Meter | Working | 4" |  | 0-2500 | 0-60 | Yes | 2025-01-22
8 |  | 1361 | MP Test Gas Flow Meter | Working | 2" |  | 0-2500 | 0-16 | Yes | 2025-05-06
9 |  | 1501 | Gas From HP Seprator | Working | 4" |  | 0-2500 | 0-60 | Yes | 2025-05-05 | 2025-08-29
10 |  | 1503 | Gas From Compressor | _ |  |  | 0-100inh2o | 0-60 | Yes
11 |  | 1504 |  | _ |  |  | 0-100inh2o | 0-60 | Yes
12 |  | 1505 |  | _ |  |  | 0-100inh2o | 0-60 | Yes
13 |  | 1521 | Gas To LP Suction | Working | 203.2 |  | 0-2500 | 0-60 | Yes
14 |  | 1522 | Gas To HP Suction | Working | 8" |  | 0-2500 | 0-30 | Yes
15 |  | 1523 | Gas From GGS NADA | _ |  |  |  |  | Yes | 2025-01-08
16 |  | 1524 | LP Gas From NADA | Working | 8" | 87.65 | 0-2500 | 0-60 | Yes | 2025-02-25
|  | 1530 | MP scrubber Gas To CPF | Working | 102.26" | 41 | 0-10000 | 0-60 | Yes |  | 2025-11-25
17 |  | 1531 | Gas For Internal Consumption | Working |  |  |  | 0-10 | Yes
18 |  | 1371 | LP Test Gas Flow Meter | Working | 4" | 50mm | 0-2500 | 0-02 | Yes | 2025-05-06
19 |  | 1826 | Gas Lift Area | Working | 4" |  | 0-2500 | 0-60 | Yes
20 |  | 1827 |  | _ |  |  |  |  | Yes | 2025-02-25
21 |  | 1828 |  | _ |  |  | 0-100inh2o |  | Yes
22 |  | 1829 |  | Working | 195mm | 63mm | 0-2500 | 0-100 | Yes | 2025-02-25 | 2025-10-15
23 |  | 1830 |  | Working | 2" | 51.54mm | 0-100inh2o | 0-80 | Yes |  | 2025-10-15
24 |  | 1832 |  | _ |  |  | 0-100inh2o |  | Yes
25 | JAMBUSAR GGS | 1351 | MP Gas to Dabka | Working | 4" | 35mm | 0-2500 | 0-40 | Yes | 2025-02-25
26 |  | 1361 | MP Test Sep. | Working | 3" | 34mm | 0-2000 | 0-16 | Yes | 2025-02-25 | 2025-09-15 | 2025-08-22
27 |  | 1371 | LP Test Sep. | working | 4" | 23mm | 0-2000 | 0-06 | Yes |  | 2025-09-15 | 2025-08-22
28 |  | 1502 | HP Gas to Dabka Gas Lift |  | 4" | 47.48mm | 0-2000 | 0-60 | Yes
29 |  | 1503 | MP Gas to Dabka | Working | 8" | 61.3mm | 0-2000 | 0-40 | Yes | 2025-04-24
30 |  | 1504 | HP Gas to Dabka | Working |  |  |  |  | Yes
31 |  | 1531 | Fuel Gas to Generator | Working |  | 35mm | 0-2000 | 0-40 | Yes
32 |  | 1826 | Gas Lift Area | Working |  |  |  |  | Yes
33 |  | 1827 |  | Working |  |  |  |  | Yes | 2025-03-06
34 |  | 1828 |  | Working |  |  |  |  | Yes | 2025-02-03 | 2025-01-30
35 |  | 1829 |  | Working |  |  |  |  | Yes
36 |  | 1830 |  | Working |  |  |  |  | Yes
37 |  | 1831 |  | Working |  |  |  |  | Yes
38 |  | 1832 |  | Working |  |  |  |  | Yes
39 | DABKA GGS | 1351 | HP Test Gas Flow Meter | Not working | 4" |  | 0-2500 | 0-60 | Yes
40 |  | 1501 | HP Gas To GAIL | Not working | 4" | 49.65 | 0-2500 | 0-16 | Yes
41 |  | 1521 | Gas From Jambusar | Working | 4" |  | 0-2500 | 0-60 | Yes | 2025-06-30
42 |  | 1371 | LP Test Gas Flow Meter | Working | 4" | 33.15 | 0-700 | 0-06 | Yes | 2025-10-01
43 |  | 1532 | Gas To Heater Traeter | Working | 2" | 16.96mm | 0-2500 | 0-06 | Yes
44 |  | 1502 | Gas To Gas Lift Well | Working | 4" |  | 0-2500 | 0-60 | Yes
45 |  | 1503 | gas from mater | working |  |  |  |  | yes | 2025-09-11
46 |  | 1531 | Gas To Colony | Working | 40.9mm | 17.89mm | 0-2500 | 0-06 | Yes | 2025-08-27
47 |  | 1826 | Gas Lift Area | Working |  |  |  | 0-50 | Yes
48 |  | 1827 |  | Working |  |  |  |  | Yes | 2025-01-09
CPF GANDHAR
SL No | Location | Tag no | Meter no | Working/Non working |  |  |  |  | Scada Connectivity
1 | CPF GANDHAR |  | HP gas from EPS-253 | Working |  |  |  |  | Yes
2 |  |  | HP gas from GGS-I | Working |  |  |  |  | Yes
3 |  |  | HP gas From EPS-253 | Working |  |  |  |  | Yes
4 |  |  | MP gas From EPS-253 | Working |  |  |  |  | Yes
5 |  |  | MP gas from GGS-1,GGS-3 Gandhar | Working |  |  |  |  | Yes
6 |  |  | Comp GIU-D to gas lift line | Working |  |  |  |  | Yes
7 |  |  | Comp GIU-A,B,C to gas lift | Working |  |  |  |  | Yes
8 |  |  | Fuel gas to colony | Working |  |  |  |  | Yes
9 |  |  | Gas inlet to ZFC | Working |  |  |  |  | Yes
10 |  |  | Gas lift to GNAQ | Working |  |  |  |  | Yes
11 |  |  | Gas lift to EPS-253 | Working |  |  |  |  | Yes
12 |  |  | Gas lift to EPS-253 | Working |  |  |  |  | Yes
13 |  |  | Gas to Area-I CTF | Working |  |  |  |  | Yes
14 |  | 21FI2106 | HP Gas from GGS 2,3,4,7 | Not Working |  |  |  |  | Yes
15 |  | 31FI3103 | HP Gas from GGS 1,5,6 | Not Working |  |  |  |  | Yes
16 |  | 26FI501 | ACRU KOD Iinlet to GLC B,C | Not Working |  |  |  |  | Yes
17 |  | NA | CSU-II LP seperator to flare-II | Not Working |  |  |  |  | Yes
18 |  | NA | CSU-I LP seperator to flare -I | Not Working |  |  |  |  | Yes
19 |  | NA | CSU-II MP seperator to flare-II | Not Working |  |  |  |  | Yes
20 |  | NA | CSU-II Mp seperator to flare -I | Not Working |  |  |  |  | Yes
21 |  | 51FI5302 | Naptha to storage tank | Not Working |  |  |  |  | Yes
22 |  | 95FI2604 | Phase-II flare meter | Not Working |  |  |  |  | Yes
23 |  | 90FI2541 | Phase-I flare meter | Not Working |  |  |  |  | Yes
24 |  | 51fi5203 | LEF top gas | Not Working |  |  |  |  | Yes
25 |  | FI5083 | HP gas to GAIL | Working |  |  |  |  | Yes
26 |  | FI5082 | MP gas to GAIL | Working |  |  |  |  | Yes
27 |  | 13FI1101 | OGC-I MP gas outlet | Working |  |  |  |  | Yes
28 |  | FI5081 | Lean gas from GAIL | Working |  |  |  |  | Yes
29 |  | 86FI1103 | Gas lift to Area-III | Working |  |  |  |  | Yes
30 |  | 62FI1101 | Gas injection to field | Working |  |  |  |  | Yes
31 |  | 26FI301& 302 | lean gas to dryer inlet | Working |  |  |  |  | Yes
32 |  | 26FI102 | Lean gas to CCPP internal consumption | Working |  |  |  |  | Yes
33 |  | 51FI5303 | LPG to storage | Working |  |  |  |  | Yes
34 |  | 15FI1103 | MP gas seperator(CSU-II) to OGC-I inlet | Working |  |  |  |  | Yes
35 |  | 90FI1601 | Fuel gas to UNITS | Working |  |  |  |  | Yes
36 |  | 26FI801 | Fuel gas to furnace | Working |  |  |  |  | Yes
37 |  | FI202 | ZFC outlet to HP gas | Working |  |  |  |  | Yes
38 |  | FI203 | ZFC fuel gas inlet | Working |  |  |  |  | Yes
39 |  | 26FI901 | Regenaration gas to OGC-I outlet | Working |  |  |  |  | Yes
| GDR 06 | PI1301
PI1311
PI1321
PI1201
PI1202
PI1203
1826
1827
1828
1829
1830
1831
1832
1833
1834
1835
1836
1837
1838
1839
1840
1509
1501
1502
1510
1503
1504
1505
1506
1508

## CTM (hidden)
AREA –I
SL. NO. | NAME OF CONSUMER | INSTALLATION | METER MAKE | Working/Non working | Calibrated/ Not Calibrated | Scada Connectivity | Sap Data Transfer | Remarks
1 | ONGC COLONY GAS SUPPLY (GAIL) | GRMS | FLOBOS 503 | Working | Calibrated | Yes | Yes
2 | ALIABET GAS TO GAIL | CTF ANKLESHWAR | SCANNER 2000 | Working | Calibrated | Yes | Yes
3 | BHAVANI CERAMIC - 01 | MOTWAN GGS | SCANNER 2000 | Working | Calibrated | Yes | Yes
4 | BHAVANI CERAMIC - 02 | MOTWAN GGS | SCANNER 2000 | Working | Calibrated | Yes | Yes
5 | SENGUIN MANAGEMENT | MOTWAN GGS | SCANNER 2000 | Working | Calibrated | Yes | Yes
6 | PATTIDAR CERAMIC | MOTWAN GGS | SCANNER 2000 | Working | Calibrated | Yes | Yes
7 | MAHEK (GAIL) | MOTWAN GGS | SCANNER 2000 | Working | Calibrated | Yes | Yes
AREA –II
8 | AXOLO GLASS | KOSAMBA GGS | ABB TOTALFLOW | Working | Calibrated | Yes | Yes
9 | GSPC (GAIL) | OLPAD GGS | ABB TOTALFLOW | Working | Calibrated | Yes | Yes
10 | HINDUSTHAN CYANIDE | OLPAD GGS | ABB TOTALFLOW | Working | Calibrated | Yes | Yes
11 | R P WOOD | OPDC | FLOBOS 503 | Working | Calibrated | Yes | Yes
12 | SUNRISE GLASS -01 | OPDC | FLOBOS 503 | Working | Calibrated | Yes | Yes
13 | SRISAI CALNATES | OPDC | FLOBOS 503 | Working | Calibrated | Yes | Yes
14 | SUNRISE SILICHEM | OPDC | FLOBOS 503 | Working | Calibrated | Yes | Yes
15 | COMFIA INDUSTRIES | OPDC | FLOBOS 503 | Working | Calibrated | Yes | Yes
16 | ENERTECH FUEL | OPDC | FLOBOS 503 | Working | Calibrated | Yes | Yes
17 | SUNRISE GLASS -02 | OPDC | SCANNER 2000 | Working | Calibrated | Yes | Yes
18 | SPIRE (ONGC) | KIM EPS | FLOBOS 503 | Working | Calibrated | Yes | Yes
19 | SPIRE (GAIL) | KIM EPS | FLOBOS 503 | Working | Calibrated | Yes | Yes
20 | HINDUSTHAN ZIRCON | KIM EPS | FLOBOS 503 | Working | Calibrated | Yes | Yes
AREA – III
21 | QUANTUS GLASS | EPS -253 | SCANNER 2000 | Working | Calibrated | Yes | Yes
22 | WELSUIT GLASS | EPS-253 | SCANNER 2000 | Working | Calibrated | Yes | Yes
23 | SHRUSTI CERAMICS | EPS-253 | SCANNER 2000 | Working | Calibrated | Yes | Yes
24 | GAS FROM GAIL (GLC SUCTION) | GGS -4 GANDHAR | SCANNER 2000 | Working | Calibrated | Yes | Yes
25 | WELSPUN | JOLWA GGS | FLOBOS 503 | Working | Calibrated | Yes | Yes
26 | PAVIT | JOLWA GGS | FLOBOS 503 | Working | Calibrated | Yes | Yes
27 | NAHAR (DIRECT) | JOLWA GGS | FLOBOS 503 | Working | Calibrated | Yes | Yes
28 | GACL (GAIL) | JOLWA GGS | FLOBOS 503 | Working | Calibrated | Yes | Yes
29 | NAHAR (GAIL) | JOLWA GGS | FLOBOS 503 | Working | Calibrated | Yes | Yes
30 | GROWMORE CERAMIC | JOLWA GGS | FLOBOS 503 (SHUTDOWN) | Working | Calibrated | Yes | Yes
31 | GACL (GAIL) | DAHEJ GGS | ABB TOTALFLOW | Working | Calibrated | Yes | Yes
32 | HP Line | CPF GANDHAR | EMERSON S600 | Working | Calibrated | Yes | Yes
33 | MP Line | CPF GANDHAR | EMERSON S600 | Working | Calibrated | Yes | Yes
34 | IC Line | CPF GANDHAR | EMERSON S600 | Working | Calibrated | Yes | Yes
AREA –IV
35 | VISHWA GLASS | JAMBUSAR GGS | ABB TOTALFLOW | Working | Calibrated | Yes | Yes
36 | KRISHNA INDUTRIES | JAMBUSAR GGS | ABB TOTALFLOW | Working | Calibrated | Yes | Yes
37 | VIDRESK CERAMIC | JAMBUSAR GGS | SCANNER 2000 | Working | Calibrated | Yes | Yes
38 | UBER GAS LINE | JAMBUSAR GGS | SCANNER 2000 | Working | Calibrated | Yes | Yes
39 | SHRINATH CERAMICS | GNAQ | FLOBOS 503 | Working | Calibrated | Yes | Yes
40 | SHRUSTI CERAMICS | GNAQ | FLOBOS 503 | Working | Calibrated | Yes | Yes
41 | KRISHNA CERACOAT | GNAQ | FLOBOS 503 | Working | Calibrated | Yes | Yes
42 | AUTOLIGHT GLASS | GNAQ | FLOBOS 503 | Working | Calibrated | Yes | Yes
43 | BARODA LINE METER | GNAQ | ABB TOTALFLOW | Working | Calibrated | Yes | Yes
44 | HALDYN GLASS | DABKA GGS | FLOBOS 503 | Working | Calibrated | Yes | Yes
45 | BELGIUM GLASS | DABKA GGS | FLOBOS 503 | Working | Calibrated | Yes | Yes
46 | PRIME CERAMICS | DABKA GGS | ABB TOTALFLOW | Working | Calibrated | Yes | Yes
47 | PHILIPS GLASS | DABKA GGS | ABB TOTALFLOW | Working | Calibrated | Yes | Yes
48 | CROMPTON GREAVES | DABKA GGS | ABB TOTALFLOW | Working | Calibrated | Yes | Yes
49 | MAYUR DYECHEM | DABKA GGS | ABB TOTALFLOW | Working | Calibrated | Yes | Yes
50 | WELSUIT CERAMICS | DABKA GGS | ABB TOTALFLOW | Working | Calibrated | Yes | Yes
51 | SUPREME GLASS (GAIL) | NADA GGS | FLOBOS 503 | Working | Calibrated | Yes | Yes
52 | BUBUN CERAMICS | NADA GGS | FLOBOS 503 | Working | Calibrated | Yes | Yes
53 | SUPREME GLAZE (NEW) | NADA GGS | SCANNER 2000 | Working | Calibrated | Yes | Yes